

 **WSHP Bosch code string**

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1-2 | 3-5 | 6 | 7 | 8-9 | 10 | 11 | 12 | 13 | 14 | 15 |
| Model | Tonnage | - | Voltage | Orientation | Coax | - | H20 inlet | Return | Supply | Motor |
| [RL](https://www.bosch-homecomfort.com/us/en/ocs/residential/rl-series-heat-pump-20289528-p/) / [RF](https://www.bosch-homecomfort.com/us/en/ocs/residential/rf-series-heat-pump-20706466-p/) / [RP](https://www.bosch-homecomfort.com/us/en/ocs/residential/rp-series-heat-pump-20912909-p/)[CL](https://www.bosch-homecomfort.com/us/en/ocs/residential/cl-series-heat-pump--20289529-p/) / [CF](https://www.bosch-homecomfort.com/us/en/ocs/residential/cf-series-heat-pump-20706467-p/)/ [CP](https://www.bosch-homecomfort.com/us/en/ocs/residential/cp-series-heat-pump-20912910-p/) | 007-070 | - | 1 | VT/ HZ/ CF\* | C / N | - | F | L / R | T / E | P/T/A |

**Confirm existing product options**: Use Bosch serial number at <https://spareparts.bosch-climate.us/>

1. **Models:** “**R**” stands for Residential; “**C”** stands for Commercial
	1. **Residential warranty**
		1. RL: 5 years, parts & labor [**when installed in Florida by HCPRO**](https://www.bosch-homecomfort.com/us/media/country_pool/documents/warranties-and-claims/bosch_wshp_fl_installs_only_warranty_11.2024.pdf)
		2. RF / RP: 10 year parts and labor
		3. **HC Pro Platinum dealers** receive **1 extra year of parts warranty**
	2. **Commercial warranty** (CL/ CF / CP): 5 year compressor, 1 year parts
		1. Additional aftermarket warranty available; must be purchased within 90 days of manufacture
2. **Voltage: Residential is only available in 208/230/1**

**Code string (digit 7) options**: **0** is 115/1, **1** is 208-230/1, **2** is 265/1, **3** is 208-230/3, **4** is 460/3

1. **Choose the correct model**
	1. Confirm dimensionsfit the installation space: *see page 2 to compare SV, RL, and RF footprints*
	2. Commercial options: hot gas reheat, internal heat kits, DDC control, straight cool
2. **Commercial quote requests**: sales@mcaair.com
	1. Internal McAllister team to quote
	2. ETO options can be requested; no guarantee that Bosch will be able to accommodate requests
3. **Place orders**: sales@mcaair.com
	1. **Residential product**: use 10-digit Bosch number found on price sheet (7-735-XXX-XXX)
	2. **Commercial**: use entire code string & reference quote number provided by McAllister
	3. **Lead times:** updated open order sheets are available Wednesday.

**Bosch WSHP 454B packaged standard options:**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Model** | **Energy Star** | **Compressor**  | **Fan/Motor** | **Insulation** | **HRP** |
| **RP/ CP** | Yes | Two Stage | A: ECM- CA | Quiet package | Option |
| **RF/ CF** | Yes | Two Stage\* | A: ECM- CA\*\* | Dual density FG | Option |
| **RL/ CL** | No | Single Stage | P: PSC | 1/2" 1.5lb FG | No |

 **Bosch** **discontinued cross reference:**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Residential 454B** | **Commercial 454B** | **Residential 410A** | **Commercial 410A** | **Discontinued FHP Model** |
|  |  | SM | LM | AP / TA |
| RF | CF | CE/ BP | ES/ EP | GO / EV / GS / GT / LT / SL / SX |
| RL | CL | SV | LV | HE / EC / EM / SE |







|  |  |
| --- | --- |
| **Florida Support** | **South Florida Territory Managers** |
| OrdersTim Mohs: 407-788-7885Tim.Mohs@mcaair.com  | Palm Beach & St Lucie countiesKevin Beatty 954-604-0370Kevin.Beatty@mcaair.com |
| QuotesKarl MillerKarl.Miller@mcaair.com  | Dade, Broward, & SW FLEvelio Mata: Evelio.Mata@mcaair.com |